## Slide 1
Energy Production and Water Use Trends
Jordan Macknick
WSWC-WGA Energy/Water Workshop
April 2, 2013

## Slide 2: Historical Water Withdrawals, 1950-2005

## Slide 3: Operational Water Consumption
Source: Macknick, J., Newmark, R., Heath, G., and Hallett, KC. 2012. Operational water consumption and withdrawal factors for electricity generating technologies: a review of existing literature. Environmental Research Letters. 7 (045802).

## Slide 4: Operational Water Withdrawal
Source: Macknick, J., Newmark, R., Heath, G., and Hallett, KC. 2012. Operational water consumption and withdrawal factors for electricity generating technologies: a review of existing literature. Environmental Research Letters. 7 (045802).

## Slide 5: Different clean energy scenarios have different water use profiles
Source: Macknick, J., Sattler, S., Averyt, K., Clemmer, S., and Rogers, J. 2012. The water implications of generating electricity: water use across the United States based on different electricity pathways through 2050. Environmental Research Letters. 7 (045803).
National level withdrawals
National level consumption

## Slide 6: But, regional trends in water use may differ from national trends (withdrawals)
Source: Macknick, J., Sattler, S., Averyt, K., Clemmer, S., and Rogers, J. 2012. The water implications of generating electricity: water use across the United States based on different electricity pathways through 2050. Environmental Research Letters. 7 (045803).

## Slide 7: But, regional trends in water use may differ from national trends (consumption)
Source: Macknick, J., Sattler, S., Averyt, K., Clemmer, S., and Rogers, J. 2012. The water implications of generating electricity: water use across the United States based on different electricity pathways through 2050. Environmental Research Letters. 7 (045803).

## Slide 8: Water use varies greatly depending on site- and technology-specific characteristics
Meldrum , J., Nettles-Anderson, S., Heath, G., and J. Macknick. Life Cycle Water Use for Electricity Generation: A Review and Harmonization of Literature Estimates.” (2013)

## Slide 9: Life Cycle Water Consumption
Meldrum , J., Nettles-Anderson, S., Heath, G., and J. Macknick. Life Cycle Water Use for Electricity Generation: A Review and Harmonization of Literature Estimates.” (2013)

## Slide 10: Shale gas development water use is variable, but generally less than what is required for operations
Meldrum , J., Nettles-Anderson, S., Heath, G., and J. Macknick. Life Cycle Water Use for Electricity Generation: A Review and Harmonization of Literature Estimates.” (2013)

## Slide 11: Life Cycle Water Use (Shale Gas wastewater management)
Colorado: Trends in wastewater management at gas development sites (2008-2011)
Pennsylvania: Trends in wastewater management at gas development sites (2008-2011)
Source Logan, J., Heath, G., deLone Paranhos, E., Boyd, W., Carlson, K. Macknick, J. Natural Gas and the Transformation of the U.S. Energy Sector: Electricity. NREL/TP-6A50-55538. (2012)
From 2008-2011, Pennsylvania eliminated surface water discharge and greatly increased recycling, whereas Colorado increased surface water discharge and hadn’t yet adopted recycling practices

## Slide 12: Summary
National level withdrawals have remained relatively constant the past 30 years
Projections of future power sector withdrawals and consumptive uses may increase and/or decrease
Regional projections may differ substantially from national projections
Water use trends depend on a number of factors:
  Plant Retirements
  New Power Plants (fuel choice)
  Power Plant Characteristics
  Cooling System Choices
  Regional Dynamics
Life cycle water use trends can also be important for decision-makers
Wastewater treatment method trends from the power sector life cycle can vary regionally

## Slide 13
Thank you
Jordan.Macknick@nrel.gov
303-275-3828