## Slide 1: THE ARIZONA METEOROLOGICAL NETWORK
Paul W. Brown, Bruce Russell & Ethan Smith
Arizona Cooperative Extension & Dept. of Soil, Water & Env. Science
University of Arizona

## Slide 2: Topics for Discussion
Brief Review of AZMET
Challenges in Providing ETos
Arizona ET Activities/Outreach

## Slide 3: Arizona Meteorological Network
Data Collection
DATA PROCESSING CENTER
Dissemination
Weather-related information for producers of agricultural & horticultural crops

## Slide 4: Brief History
1984-85
    AZ Legislative Decision Package Funded…
      10 Weather Stations + Computer System
      Extension Specialist
      No Operating Funds!
    Equipment Purchased & Specialist Hired
1986-87
    Permanent Staff Hired
    Operational: March 1987
      Computer Bulletin Board
    Installed First Urban Station

## Slide 5: 30 Years Later
Personnel
  Paul Brown, Extension Specialist
  Bruce Russell, Program Coordinator
  Ethan Smith, Maintenance & Calibration
28 Weather Stations
  21 Rural & 7 Urban
  2 In Northern AZ
Dissemination
  Internet/Email

## Slide 6: Simple Network Schematic
Data Collection
DATA PROCESSING CENTER
Dissemination

## Slide 7: Station Locations
28 Permanent Stations plus 3 to 7 Temporary Stations (Not Shown)

## Slide 8: Data Acquisition
Campbell Sci Equipment
Logger Sampling Frequency
  10 Seconds
Summary Periods
  Hourly
    Means, Totals
  24 Hrs @ Midnight
    Means, Totals, Extremes
Data Retrieval
  Daily @ Midnight
  Every 15 Minutes
    Real Time Outputs
Precipitation
Wind Direction
Solar Radiation
Temperature
& Humidity
Soil Temperature
Wind Speed

## Slide 9: Station Maintenance
  Quarterly Maintenance (4/Yr)
    Calibration vs. Travel Stds
    Check Power Supply
    Cleaning
    Sensor Rotation/Replacement
      Refurbished/Calibrated
  Quick Checks (4-6/Yr)
    Visual Inspection
    Cleaning/Level Checks
Mean Travel Distance: Tucson to Weather Station: 168 Miles
  Emergency Maintenance
    Equipment Failure
    Vandalism
    Weather, Animals, Birds

## Slide 10: Quality Control
Automated Data Checks
  Data Format
  Physical/Record Extremes
Manual Data Checks
  Graphical & Numerical
    “Nearest Neighbors”
    Non-AZMET Data Sets
  Referrals From Automated Checks
Solar Radiation: Comparison With Clear Sky Estimates
Precipitation: Comparison with Radar Estimates

## Slide 11: Internet Dissemination (http://ag.arizona.edu/azmet)
Dust/PM10/2.5
Spraying
Precipitation Events
Frost
Planting (Soil Temp)
ET for Urban

## Slide 12: Funding Strategy
Station Sponsorship
    Local Sponsors
    Non-Labor Costs
    25% of Labor
Labor Assistance Grants
    50% of Labor
    Interested Entities
University of Arizona
    25% of Labor
    Variable/Shrinking
A & P Growers | Harquahala Valley Irrigation District
Aguila Irrigation District | Hohokam Irrigation District
Arizona Apple Growers Assn | Mesa Community College
AZ Cotton Research & Protect. Counsel | Mike Harvey Ag.
AZ Cotton Growers Assn | National Pecan Corp.
Bureau of Reclamation | New Magma Irrigation District
Chiquita/Fresh Express | Paloma Irrigation District
City of Phoenix | Queen Creek Irrigation District
City of Prescott | Roosevelt Irrigation District
Cochise & Graham Co. Growers | San Carlos Irrigation District
Colorado River Indian Tribes | Town of Payson
Electrical District 2 | University of Arizona
Farmers Investment Corp. | USDA
Gila Water Commissioner | Wellton/Mohawk NRCD
Fort Mohave Indian Tribal Farm | Willcox Bench Growers

## Slide 13: Reference ET
Computation Procedure
Station Siting
Station Maintenance
Penman Monteith Eqn
ETos

## Slide 14: Standardized Computation Penman Monteith Eqn.
FAO 56: 1998
ASCE: 2005

## Slide 15: Siting Weather Stations
Stations should located in open, relatively level areas away from shade. The station should surrounded by green, well-watered vegetation (turf/alfalfa).
Wind

## Slide 16: Station Siting Studies
Ft. Mohave Indian Reservation, North of Needles, CA

## Slide 17: Station Siting Studies
Ft. Mohave Indian Reservation, North of Needles, CA
Fallow
12.5m
25m
50m
100m
200m
Wind Flow
Temperature @ 2m
Humidity @ 2m
Wind Speed @ 2m
Solar Radiation (Common)
Alfalfa

## Slide 18: Good Site Until…
Harvest: 5-7 Days Until Irrigation

## Slide 19: Siting Results
10 Days Prior to Cut
7 Days After Cut
--Fallow Sites: 15-20% Higher
--Ongoing Adjustment at 200 m
--Little Change With Distance
--All Locations Within 3%

## Slide 20: Preferred Siting Options
100 -200 m
100 -200 m
4 – 16 ha
100 -200 m
2 – 8 ha
Short, Full Cover Crop: Turf, Alfalfa, Wheat/Barely (Winter)
Daytime Winds

## Slide 21: Station Siting
VS
Station
Reference Site
Variable Upwind Fetch (Row/Field Crop)

## Slide 22: Station Siting Parker Valley, AZ
Wheat
Jan. – Apr.: 4.3%
Cotton
July – Sept.: <2%

## Slide 23: Best Ground-Based Solution
Smaller, portable stations that can be moved when sites degrade.

## Slide 24: Aridity Adjustment Non-Reference Stations
Setting Tdew = Tmin – 2 C
Adjusted

## Slide 25: Poor Station Maintenance Low ETos Estimates
Sensor | Impact on ETos
Solar Radiation Contamination | Reduction
Wind Speed Bearing Degradation | Reduction
Temperature/Humidity Humidity Drifts Higher | Reduction
Rain Gauge Funnel Plugging | None Inaccurate Precipitation

## Slide 26: Water Use of Fairway Quality Desert Turfgrass ~29000 Acres of Golf Turf in Arizona
Measuring Water Use
Estimating Water Use
(Using Reference ET)
ET
Crop Coefficients
Lysimeters

## Slide 27: CROP COEFFICIENTS For Desert Turf
Turf | Turf Quality |  |  | 
 | Maximum | Good | Acceptable | Minimum
Overseeded | 0.83 | 0.75 | 0.68 | 0.60
Bermudagrass | 0.80 | 0.70 | 0.60 | 0.50
Maximum: highest quality golf & sports turf, irrigated daily
Good: high quality golf & sports turf, irrigated every 2-3 days
Acceptable: parks & schools
Minimum: marginal to acceptable quality turf
Source: Brown et al., 2001. Crop Sci. 41:1197-1206.

## Slide 28
Updated daily & free of charge
Available by internet or delivery via email listserv
Distribution of Turf Water Use Information

## Slide 29
Reference ET vs Normal
Crop Water Use: Last Week & This Week

## Slide 30: SMALL GRAINS ADVISORY
Developed By Mike Ottman Using AZMET Data
- Grows Crop Using Thermal Time (Degree-Days)
- Estimates ET Using ETo and Kcs
- Accumulates ET and Provides Estimated Times for Irrigations

## Slide 31
Generated Weekly for 14 Locations

## Slide 32: Updated/New Crop Water Use Data
Eddy Covariance Towers
Irrigation Management
Water Supply Concerns
Location of Orchards

## Slide 33
Windows Based Irrigation Scheduling Software (Windows NT, 98, XP)
http://ag.arizona.edu/crop/irrigation/azsched/azsched.html
Inputs (Paychecks)
  Irrigation
  Precipitation
Outputs (Expenditures)
  ET or Consumptive Use
  Drainage
  Runoff
Goal (Avoid Overdraft)
  Positive Soil Water Reservoir
  Avoid Plant Stress
Checkbook Irrigation Scheduling

## Slide 34: Thank You!